## MENU
Oracle Exalytics In-Memory Machine Certification Matrix
Exalytics PatchSet 5 (Exalytics Software v1.0.0.5)
Exalytics Release 1 Patchset 5 (v1.0.0.5) Certifications
| Exalytics Release 1 Patchset 5 (v1.0.0.5) Definition | Link
| Software Compatibility | Link
| Document Control | Link
Exalytics-Application Software Certification Matrix
| BI Certification Matix | Link
| EPM Suite Certification Matrix | Link
Exalytics Documentation
| Exalytics Documentation | Link
Cert Matrix for Exalytics Releases prior to v1.0.0.5
| Exalytics Release 1 v1.0.0.1 to Release 1.0.0.4 (PS1, PS2, PS3 and PS4) certifications (old) | Link

## Exalytics v1.0.0.5
Exalytics Release 1 Patchset 5 (v1.0.0.5) Definition for Exalytics X2/3/4-4
|  | Exalytics X2-4 | Exalytics X3-4 | Exalytics X4-4 | Exalytics T5-8 | How to check versions on X Series Exalytics | How to check version on T5-8
Firmware and Systems Software | Server Operating System | Exalytics Base Image on Linux x86-64 1.0.0.7 |  |  | Exalytics -Oracle Solaris 11.1 SRU11.4 (64 bit) | # /opt/exalytics/bin/exalytics_imageinfo ¦ grep 'Image version' | #pkg info entire ¦ grep Version
| OS Kernel Version | Exalytics -Oracle Linux 5.10 (UL5) with UEK Linux Kernel Version Number: 2.6.39-400.128.17.el5uek |  |  | N/A | # /opt/exalytics/bin/exalytics_imageinfo ¦ grep 'Kernel version' | #pkg info entire ¦ grep Version
| Server GSI Part Number | 7102547 | 7106512 (X3-4) | 7107807 | 7107148 | N/A | N/A
| Server Firmware | 1.4.1 |  | 1.0.0 | 9.1.0.b | N/A | #prtdiag -v ¦ grep -i firmware
| ILOM version | 3.1.2.24.b+ |  | 3.2.2.10+ | 3.2.1 or later | # ipmitool sunoem cli | use ILOM UI
| 2-port QDR Infiniband HCA | 2.9.1000+ |  | 2.11.1280+ | 2.11.1280 | # ibstat ¦ grep -i 'Firmware version' | #ibstat ¦ grep -I firmware
| 2-port QDR Infiniband HCA, Cables | 5m cable Part# 530-4446 |  | 5m cable Part# 530-4446 | 5m cable Part# 530-4446 (quad port) | N/A | N/A
| Dual-Port Universal Fiber Channel PCI-Express Card (16GB FC or 10GB FCoE) | NA |  | Driver Version 8.05.00.03.39.0-k Firmware Version 6.06.03 (d8d4) RPM ql2xxx-firmware-1.01.01-0.3.el5
| Dual-Port Universal Fiber Channel PCI-Express Card (16GB FC or 10GB FCoE) Supported Trancievers | NA |  | 16 Gb FC SFP+ SW Optic Modules, QLogic (Oracle part # 7101676) – Enables 16 Gb FC HBA functionality. 10 GbE FCoE SR XCVR Modules, QLogic (Oracle part # 7101678) – Enables 10 GbE FCoE Converged Network Adapter functionality. Sun Storage 16 Gb FC SFP+ LW Optic Modules, QLogic (Oracle part # 7101680) – Enables 16 Gb FC HBA functionality.
| Dual-port 10Gigabit Ethernet PCIe Copper/Fiber SFP+ | FW - 16.4 |  | FW - 16.4 (optional component, not factory installed) | On-board quad-port 10Gigabit | http://jurassic.us.oracle.com/~ddchen/Niantic/Docs/HowToProgramNianticFWinX86Systems.html | N/A
| Dual-port 10Gigabit Ethernet PCIe Copper/Fiber SFP+ Supported Transcievers | Short Reach SFP+ : -X2129A-N (Up to 300m) Long Reach SFP+ : -X5562A-Z (Up to 10km) SFP+ to RJ45(F) Adapter : -X2123A (1000Base-T) |  |  | QSFP-to-QSFP cables (1m/3m/5m) X2121A-1M-N/X2121A-3M-N/X2121A-5M-N SFP+ TwinX cables (1m/3m/5m) X2130A-1M-N/X2130A-3M-N/X2130A-5M-N | N/A | N/A
| Dual-port 8Gb Fiber Channel PCI-Express card | FW 2.5.2 |  | N/A | FW LPe12002-S 2.01a4 | No command available yet. (QLogic tool is required, or HMP package is required) | #fcinfo hba-port ¦ grep -i firmware Emulex HBA is delivered with a drivers (no separate patch)
| Dual-port 8Gb Fiber Channel PCI-Express card, Software | Device driver qlak2xxx.ko version 8.03.07.08.32.1-k |  | NA | Driver Version: 2.80.8.0 (2012.09.17.15.45) Driver Name: emlxs | # systool -c scsi_host -d host1 –v¦grep driver_version | # fcinfo hba-port ¦ grep -i firmware
| SAN Devices | Consult manufacturer's certification for Qlogic part number http://us-downloads.quest.com/Repository/support.quest.com/Foglight%20Experience%20Viewer/5.1.0b/Documentation/FxV_QLogicFibreChannelHBAInstallation.pdf |  |  | http://www.oracle.com/webfolder/technetwork/hcl/data/s11ga/components/views/external_storage_all_results.page1.html | N/A | N/A
| Hard disks | A31A |  | A690,A6C0 | A447 | # /opt/MegaRAID/MegaCli/MegaCli64 -pdlist -a0 ¦ grep -i Firmware | #diskinfo or #format'
| RAID HBA | HBA FW 12.12.0-0079 |  | HBA FW 12.12.0-0178 | NA (Software RAID-Z) | # /opt/MegaRAID/MegaCli/MegaCli -AdpAllInfo -aALL ¦ grep 'FW Package Build' | #zpool status
| RAID Management | MegaCli version -8.02.21-1 |  | MegaCli 8.07.07 | ZFS | ]# rpm -qa ¦ grep Mega | #zpool status
| PCI-E Flash Cards | fw 08.05.01.00 (upgrade kit only) | fw 08.05.01.00 | 09.05.41.00 | fw 09.05.33.00 | ]# ddcli LSI Corporation WarpDrive Management Utility Version 107.00.00.04 (2012.06.05) Copyright (c) 2011 LSI Corporation. All Rights Reserved. ID WarpDrive Package Version PCI Address -- --------- --------------- ----------- 1 ELP-4x100-4d-n 06.05.09.00 00:11:00:00 2 ELP-4x100-4d-n 08.05.01.00 00:21:00:00 3 ELP-4x100-4d-n 09.05.04.00 00:31:00:00 4 ELP-4x100-4d-n 06.05.09.00 00:a1:00:00 5 ELP-4x100-4d-n 08.05.01.00 00:c1:00:00 6 ELP-4x100-4d-n 08.05.01.00 00:d1:00:00 | #ddcli -listall
Virtualization | Exalytics Base Image for Oracle VM | 2.0.1.4 |  |  | N/A | #imageinfo | N/A
| Exalytics Base Image Kernel for OVM | OVM Server 3.2.8+, Kernel - 2.6.39-400.214.3.el5uek x86_64 |  |  | N/A | #uname -a | N/A
| Exalytics Oracle VM Template (Guest) | 2.0.1.4 |  |  | N/A | No command available | N/A
| Exalytics Oracle VM Template (Guest) Kernel | Oracle Linux UL5 with UEK - Oracle Linux Server release 5.6 Kernel - 2.6.39-400.215.8.el5uek x86_64 |  |  | N/A | #uname -a | N/A
| Oracle VM Manager | 3.2.8+
| Oracle VM for SPARC | N/A |  |  | Oracle VM for SPARC 3.1.0.0 | N/A | #ldm -V Logical Domains Manager (v 3.0.0.3) Hypervisor control protocol v 1.11 Using Hypervisor MD v 1.4

## Software Compatibility
Exalytics - Application Software Compatibility Matrix for X2-4, X3-4, X4-4 (PS5) and T5-8
Oracle BI | Oracle BI | 11.1.1.7.x 11.1.1.9.x (manual install only, not via EDMU) | OHS deployments for OBIEE are allowed.
Essbase | Essbase | 11.1.2.2.101+ (Installed by EPM 11.1.2.2) 11.1.2.2.200+ (Installed by OBI 11.1.1.7.0) 11.1.2.3.x 11.1.2.4.x | Please check BI or EPM certification Matrix for details. Essbase PSUs can only be applied to EPM deployments of Essbase.
Oracle Database Enterprise Edition | Oracle Database Enterprise Edition | 12.1.0.2.x with Database In-Memory Option | Oracle 12c DBIM can be installed on Exalytics patchset 4 (base image 1.0.0.6 on X2/3/4-4) or higher versions.
TimesTen | TimesTen for Exalytics | 11.2.2.5.x, 11.2.2.6.x, 11.2.2.7.2,11.2.2.7.8, 11.2.2.8 | For releases after 11.2.2.8 please refer to the TimesTen certification matrix in respect to the relevant OEL release.
WebLogic | Oracle WebLogic Server 11gR1 and Coherence for Exalogic Linux x86-64 | 10.3.6
Endeca | Endeca - EID Studio | 3.0 3.1 | Not supported on T5-8
| Endeca - EID Integrator | 3.0 3.1
| Endeca - EID Server | 7.5.1 (For Studio 3.0) 7.6.0/7.6.1 (For Studio 3.1)
BI Applications | BI Applications |  | BI Apps support is based on the OBIEE version that the BI Apps release requires
Data Integration | Oracle Data Integrator |  | Data Integration product support is based on the certification matrix for these products as it relates to the Base Image OL version and the application is will be used with (e.g. OBIA version)
Oracle Data Integrator Agent
Data warehouse Administration Console (DAC)
Oracle Golden Gate
EPM | Oracle Hyperion Planning | 11.1.2.2.x, 11.1.2.3.x and 11.1.2.4.x | Hyperion Planning 11.1.2.1 customer can rehost Essbase(upgraded to 11.1.2.2.) on Exalytics. Please refer to the white paper "REHOSTING ESSBASE ON EXALYTICS FOR USE WITH PLANNING RELEASE 11.1.2.1". The white paper is posted on: http://www.oracle.com/technetwork/middleware/bi-foundation/rehost-essbase-exalytics-11121-1974055.pdf
| Hyperion Financial Management | 11.1.2.4.x | Not supported on T5-8
| Oracle Hyperion Profitability and Cost Management | 11.1.2.2.x, 11.1.2.3.x and 11.1.2.4.x
| Oracle FDM EE | 11.1.2.3.x and 11.1.2.4.x
| EPM Foundation (Foundation Services) | 11.1.2.2.x, 11.1.2.3.x and 11.1.2.4.x
| R&A Framework (Including FR, WA, IR and SQR) | 11.1.2.2.x, 11.1.2.3.x and 11.1.2.4.x
| Oracle Financial Management Analytics | 11.1.2.3.x and 11.1.2.4.x
| Essbase Analytic Link for HFM | 11.1.2.2.x, 11.1.2.3.x and 11.1.2.4.x
| ADM Driver for HFM | 11.1.2.3.x and 11.1.2.4.x
| Provider Services, Calculation Manager, EAS, Essbase Studio, Oracle HTTP Server | 11.1.2.2.x, 11.1.2.3.x and 11.1.2.4.x
Oracle Real-Time Decisions | Oracle RTD Platform | 3.0.0.1.16+
Oracle In-Memory Policy Analytics | Oracle In-Memory Policy Analytics | 12.0.1
System Monitoring | Enterprise Manager Agent | 12.0.1.3+
| Enterprise Manager | 12.0.1.3+ | EM Manager must be installed outside of Exalytics,
Software Install on Exalytics | Policies/Recommendations
Unlisted Oracle Products and Third Party Applications | Exalytics X2/3/4-4-Customers may run other software application on Exalytics as long as that software runs on a separate Oracle VM guest based on Exalytics Oracle Linux OVM template. Customers shall be responsible for application supportability, sizing, deployment, availability and other lifecycle aspects of the deployment. Oracle may request such VMs to be turned off if they are found to interfere with the normal operation of Exalytics software. Exalytics T5-8 -Customers may run other software application on Exalytics as long as that software runs on a separate LDOM. Customers shall be responsible for application supportability, sizing, deployment, availability and other lifecycle aspects of the deployment. Oracle may request such VMs to be turned off if they are found to interfere with the normal operation of Exalytics software .
Third Party Agents | Installation of third party agent software, including monitoring agent and/or back up agent is allowed, though Oracle does not certify them. However, if there should be any problem where such third party tools might be related, Oracle support may require the customer to reproduce the problem after uninstalling such third party tools.
Updated PSU and Releases of Compatible Oracle Software | Unless otherwise is specified, newer PSUs or releases of the compatible software products on this list are compatible by default as long as the updated software supports the Exalytics OS version. Please consult the relevant product certification matrix to determine OS/Hardware support.
BI RCU and EPM Repository | As long as the database release is certified by the Oracle BI and Enterprise Performance Management certification matrix, It is allowed to use the local Oracle Database 12c with DBIM for the OBI RCU or EPM repository. However, Exalytics does not offer out of the box HA/DR/Backup or other features related to the management and availability of such databases. The customer is expected to deploy these capabilities using the application and database standard features.

## Document Control
Oracle Exalytics In-Memory Machine Certification Matrix
Document Properties
Author | Gabby Rubin
Create Date | 2014-01-23
Last Update Date | 2026-07-29
Change Record
Date | Author | Change Reference
2014-01-24 | Praveen Deshpande | Created Exalytics PS4 certification with a newly simplified format.
2014-01-24 | Keisuke Kudo | Reviewed and updated.
2014-01-30 | Praveen Deshpande | Updated as per feedback
2014-05-13 | Praveen Deshpande | Added Essbase 11.1.2.3.500 certification, updated RTD certification, updated Infiniband firmware requirement for OVM/IB Support
2014-05-28 | Praveen Deshpande | Added BI Apps 11.1.1.8.1
2014-06-10 | Praveen Deshpande | Added TimesTen 11.2.2.7.2
2014-08-15 | Praveen Deshpande | Add 11.2.2.7.2+ to TimesTen as target
2014-08-25 | Praveen Deshpande | Add Oracle database in memory option
2014-09-02 | Praveen Deshpande | Add Exa certified VM config; remove IB switch firmware pre-req for VM.
2014-09-09 | Praveen Deshpande | Added X4-4 info
2014-10-30 | Praveen Deshpande | Include PS5 info
2014-10-31 | Vasu Murthy | Edited PS5 and Compatibility Matrix
2014-10-31 | Gabby Rubin | Updated Essbase information
2015-01-08 | Gabby Rubin | Remove ODI restriction ,added default PSU and new release certificaiton
2015-01-26 | Gabby Rubin | Added HFM 11.1.2.4, TimesTen 11.2.2.8
2015-02-28 | Gabby Rubin | Correct OS and base image information for X2 and X3. Update HFM certification on X2. Update EPM 11.1.2.4 information.
2015-03-27 | Gabby Rubin | OBIEE version update
2015-04-24 | Gabby Rubin | BI Apps update, minor FW fixes
2015-06-04 | Gabby Rubin | OBIEE version update
2015-11-11 | Gabby Rubin | Policy change in respect to OBIA and Data Integration products